## Sheet1
Particulate Stack Emissions PT Scheme Record Sheet |  |  | Instructions
Enter data into cells shaded light green
Company Name:
Contact:
Telephone: |  |  | Comments
Email:
Date:
Equipment used
Balance make and model:
Balance range:
Date balance last calibrated:
Standard deviation of balance at last calibration:
Oven make and model:
Balance room ambient conditions |  | Suggested Limits
Temperature (°C): |  | 15oC - 25oC | Values taken from EN13284
Barometric pressure (kPa): |  | 98.5kPa - 104.0kPa
Humidity (%): |  | 30%RH - 70%RH
|  | 1 | 2 | 3
Washing and shim weighing
| ID | 1 minute (mg) | 2 minute (mg) | 3 minute (mg) | Extrapolated result to time zero (mg) | Measurement uncertainty (mg)
Washing 1
Shim (47mm)
Shim (83mm)
Shim (110mm)
Version History
| Date | Author | Comment
1 | 2016-11-30 | DMB | Original Issue
2 | 2019-01-18 | DMB | Modified for 1 washing solution only
3 | 2024-05-07 | TOMS | Added uncertainty